## COVER
TECHNICAL SUBMITTAL
REF.No.: MGT-MGC/MAA-HS0425/21005 |  | Date: 21.04.2025
Attention : | Mr. Syed MANSOOR (052-876 6416)
Project Section / Engineer
M/S. Morals General Contracting L.L.C.
Office 1201 - ADAX Tower, Reem Island Abu Dhabi - UAE.
Tel.: (971) N/A
Your ref.: Email inquiry dated 27 Feb. 2025 7 WhatsApp message dated March 11th, 2025
Dear Sir,
Subject: | Ironmongery Submission for MARTIAL ARTS ARENA @ ABU DHABI.
Kindly find hereafter our ironmongery submittal for the above-mentioned project:
The submittal is divided into 13 sections in addition to the Hardware Set Schedules for the Building and Penthouse:
1- Door Schedule
2- List of proposed materials
3- Vendors list
4- Eleveations / Doors Schedule / HW Sets Schedule
5- Specification
6- Compliance statement
7- Technical data sheet
8- Test report
9- Company profile
10- Company license & certificate
11- Previous approvals
12- List of major projects
13- Warranty
14- Sample
Delivery:
* | 8 to 10 weeks from your confirmation
* | Partial shipments will be allowed. Non-available items will be advised.
* | Cylinders for master keying takes 12 - 16 weeks for production and delivery after receiving the confirmed master key schedule from Consultant / Contractor. Master key schedule has to be prepared and confirmed by the Consultant/Contractor.
Remarks:
* | We have prepared our Technical Submittal based on your given details. The quantities and products in the said quotation are our interpretation of your requirements. Whilst we have taken every care in the preparation of this document, we request you to read the details carefully as we cannot accept liability for errors and/or omissions.
* | Door Supplier should confirm before ordering the material regarding suitability of our hardware with their doors and installation methods.
* | No Liability will be accepted for the consequences of any delay.
* | No goods can be returned back without prior agreement.
* | Special order goods cannot be returned back.
* | Air freights are subject to extra charges and need to be advised.
Should you have any further queries, please do not hesitate to call or email me.
Best regards,
ELIE ZOUEIN
Managing Partner / Cert. GAI
(+971-50-616 4084)
MEKATRON Gen. Trading Ltd.

## HWS SCHEDULE
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI | [6 empty] | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
1. HARDWARE SETS SCHEDULE
HARDWARE SET # 01
DOUBLE LEAF WOODEN DOOR - OUTSIDE OPENING
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
WD07 | GF-01 | Training Hall | - | - | - | 60 min. | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Cylinder | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 1
* Escutcheon | PREMIUM 6612 RAL9005 | PREMIUM Europrofile cylinder escutcheon. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 1
FLOOR SPRING | TS 550 NV F + SA Accs. BM | Floor spring for single leaf fire protection doors up to 1400 mm leaf width with adjustable closing force EN 3-6 and without hold-open device. Supplied with single action floor spring's accessories for WOODEN door. SSS/Black Matt finish. | Geze – Ger. | Set | 2
** Panic Devise | FH62 FR24/55/ SSS B x FH62 GK FR24/55/ SSS x EPNII x 8115 FS / 6500 / 6612 ER / RAL9005 | Inside SS push bar 1150mm long (x2 Nos for both leaves) with a 30deg. Pivot angle cut for cylinder use 92mm cc distance with emergency exit mortise lock, change-over function B, integrated "plug-in key function", 9mm split follower, 20mm deadbolt, tested to EN1125, EN12209 Cert. & Fire Rated as per EN1634-1 x Outside cranked SS U-Lever handle on sprung pivoted oval rose, non-handed with oval SS cylinder escutcheon & split spindle. SSS/RAL9005 Black Matt finish. | SSF - Germany | Set | 2
Intumescent Seal | ITL-165x90-2MM WT | INTERDENS® Intumescent Protection Kits precut to suit Lock body & Strike Plate, with self adhesive tape back to ease installation, tested in accordance to BS476:22, 2mm thick. White colour. | Athmer - Germany | Nos. | 2
# SETS |  |  |  |  | 1
Remarks:
* From inside
** Touch bars from inside and a half lever set from outside
HARDWARE SET # 02
SINGLE LEAF WOODEN DOOR
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
WD01 | GF-03 | Warm Up Room | - | - | - | 60 min. | 2
WD02 | GF-04 | Coach Room | - | - | - | 60 min. | 1
WD02 | GF13 | Coach Room | - | - | - | 60 min. | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Lock | ES50 PZW FR24/55 9/ SSS/RAL9005 | Mortise SASH lockcase for heavy-duty and fire doors, 55mm backset, 72mm cc distance to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 1
Cylinder | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 1
Handle | 8115 FS / 6500 / 6612 ER/RAL9005 | Premium Lever handle on round shaped roses with Europrofile cylinder escutcheons. Tested to DIN EN 1906 Class 4. SSS RAL9005 Black Matt finish. | OGRO+DENI - Germany | Set | 1
Hinge | 804 STD 4" x 3.5" x 3mm / SSS/BV | SS 304 Heavy duty friction-bearing hinge with maintenance-free bushings, template drilled, square corners. Size 102x89x3mm. CE marked, CERTIFIRE approved. Suitable for fire resistance and smoke control doors. Maximum load 180 kg. Black Matt finish. | BSW – Germany | Nos. | 3
Closer | BOXER 2-4 x Lim CV RAL9005 | Integrated door closer for single doors, leaf depth from 40mm, according to EN1154A, size 2-4, up to 130KG leaf weight and up to 1100mm leaf width with arm guide rail & door limiter. SAA/RAL9005 Black Matt finish. | Geze – Ger. | No. | 1
Gasketting | PS 1212 P - 6.0 Mtr. | Winged corner seal for Single door, equipped with two rows of durable self-adhesive backing tape, suitable for sound insulation and for smoke, sealing, ensures soft closing of the door, also suitable for retro-fit applications. Size of 6.0 Mtr. Brown colour. | Athmer - Germany | Nos. | 1
Intumescent Seal | ITH-102x89-2MM WT | INTERDENS® Intumescent Fire Protection Kits precut to suit Hinge blades, with self adhesive tape back to ease installation, tested in accordance to BS476:22, 2mm thick. White colour. | Athmer - Germany | Nos. | 3
Intumescent Seal | ITL-165x90-2MM WT | INTERDENS® Intumescent Protection Kits precut to suit Lock body & Strike Plate, with self adhesive tape back to ease installation, tested in accordance to BS476:22, 2mm thick. White colour. | Athmer - Germany | Nos. | 1
# SETS |  |  |  |  | 4
Remarks:
* Door Stop - No need because of the integrated limiter on the closer.
HARDWARE SET # 03
SINGLE LEAF WOODEN DOOR
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
WD05 | GF-22 | Roof Access | - | - | - | - | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Lock | ES50 PZW FR24/55 9/ SSS/RAL9005 | Mortise SASH lockcase for heavy-duty and fire doors, 55mm backset, 72mm cc distance to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 1
Cylinder | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 1
Handle | 8115 FS / 6500 / 6612 ER/RAL9005 | Premium Lever handle on round shaped roses with Europrofile cylinder escutcheons. Tested to DIN EN 1906 Class 4. SSS RAL9005 Black Matt finish. | OGRO+DENI - Germany | Set | 1
Hinge | 804 STD 4" x 3.5" x 3mm / SSS/BV | SS 304 Heavy duty friction-bearing hinge with maintenance-free bushings, template drilled, square corners. Size 102x89x3mm. CE marked, CERTIFIRE approved. Suitable for fire resistance and smoke control doors. Maximum load 180 kg. Black Matt finish. | BSW – Germany | Nos. | 3
Closer | TS 2000 NV BC+PA / BM | Overhead door closer with link arm for single leaf doors with a leaf width up to 1100 mm; Without hold open. Certified in compliance with EN 1154, Adjustable power EN 2-4, CE Marked. Adjustable Closing speeds, Latching speeds and Back check. Non handed. Supplied with parallel arm bracket. Black Matt finish. | Geze – Ger. | No. | 1
Gasketing | PS 1212 P - 6.0 Mtr. | Winged corner seal for Single door, equipped with two rows of durable self-adhesive backing tape, suitable for sound insulation and for smoke, sealing, ensures soft closing of the door, also suitable for retro-fit applications. Size of 6.0 Mtr. Brown colour. | Athmer - Germany | Nos. | 1
# SETS |  |  |  |  | 1
HARDWARE SET # 04
SINGLE LEAF WOODEN DOOR
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
WD06 | GF-12 | Store | - | - | - | - | 1
WD06 | GF-21 | Store | - | - | - | - | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Lock | ES50 PZW FR24/55 9/ SSS/RAL9005 | Mortise SASH lockcase for heavy-duty and fire doors, 55mm backset, 72mm cc distance to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 1
Cylinder | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 1
Handle | 8115 FS / 6500 / 6612 ER/RAL9005 | Premium Lever handle on round shaped roses with Europrofile cylinder escutcheons. Tested to DIN EN 1906 Class 4. SSS RAL9005 Black Matt finish. | OGRO+DENI - Germany | Set | 1
Hinge | 804 STD 4" x 3.5" x 3mm / SSS/BV | SS 304 Heavy duty friction-bearing hinge with maintenance-free bushings, template drilled, square corners. Size 102x89x3mm. CE marked, CERTIFIRE approved. Suitable for fire resistance and smoke control doors. Maximum load 180 kg. Black Matt finish. | BSW – Germany | Nos. | 3
Door Stop | TZ 5021 / SSS/RAL9005 | Floor mounted ROUND door stop with black round buffer. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 1
Gasketting | PS 1212 P - 6.0 Mtr. | Winged corner seal for Single door, equipped with two rows of durable self-adhesive backing tape, suitable for sound insulation and for smoke, sealing, ensures soft closing of the door, also suitable for retro-fit applications. Size of 6.0 Mtr. Brown colour. | Athmer - Germany | Nos. | 1
# SETS |  |  |  |  | 2
HARDWARE SET # 05
SINGLE LEAF WOODEN DOOR
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
WD01 | GF-05 | Female Changing & Toi. | - | - | - | 60 min. | 1
WD01 | GF-14 | Male Changing & Toi. | - | - | - | 60 min. | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Lock | ES50 RS FR24/55/ SSS/RAL9005 | Mortise cylinder DEAD lock for heavy-duty and fire doors with dead bolt, 55mm backset, to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 1
Cylinder | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 1
Escutcheon | PREMIUM 6612 RAL9005 | PREMIUM Europrofile cylinder escutcheon. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Pair | 1
Pull Handle | TG 9115 ER/RAL9005 + GZ 216 | Pull handle with bolt-thru fixing to timber doors (GZ 216 - 2 Nos. / Set). Size 600mm length x 30mm dia. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 1
Push Plate | PP-700x100 SSS/RAL9005 | Push plate, Size 700x100mm. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 1
Hinge | 804 STD 4" x 3.5" x 3mm / SSS/BV | SS 304 Heavy duty friction-bearing hinge with maintenance-free bushings, template drilled, square corners. Size 102x89x3mm. CE marked, CERTIFIRE approved. Suitable for fire resistance and smoke control doors. Maximum load 180 kg. Black Matt finish. | BSW – Germany | Nos. | 3
Closer | TS 2000 NV BC / BM | Overhead door closer with link arm for single leaf doors with a leaf width up to 1100 mm; Without hold open. Certified in compliance with EN 1154, Adjustable power EN 2-4, CE Marked. Adjustable Closing speeds, Latching speeds and Back check. Non handed. Black Matt finish. | Geze – Ger. | No. | 1
Door Stop | TZ 5021 / SSS/RAL9005 | Floor mounted ROUND door stop with black round buffer. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 1
Gasketting | PS 1212 P - 6.0 Mtr. | Winged corner seal for Single door, equipped with two rows of durable self-adhesive backing tape, suitable for sound insulation and for smoke, sealing, ensures soft closing of the door, also suitable for retro-fit applications. Size of 6.0 Mtr. Brown colour. | Athmer - Germany | Nos. | 1
Intumescent Seal | ITH-102x89-2MM WT | INTERDENS® Intumescent Fire Protection Kits precut to suit Hinge blades, with self adhesive tape back to ease installation, tested in accordance to BS476:22, 2mm thick. White colour. | Athmer - Germany | Nos. | 3
Intumescent Seal | ITL-165x90-2MM WT | INTERDENS® Intumescent Protection Kits precut to suit Lock body & Strike Plate, with self adhesive tape back to ease installation, tested in accordance to BS476:22, 2mm thick. White colour. | Athmer - Germany | Nos. | 1
# SETS |  |  |  |  | 2
HARDWARE SET # 06
SINGLE LEAF WOODEN DOOR
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
WD03 | GF-07 | WC | - | - | - | - | 1
WD03 | GF-08 | Shower | - | - | - | - | 1
WD03 | GF-09 | Changing | - | - | - | - | 1
WD03 | GF-16 | WC | - | - | - | - | 1
WD03 | GF-17 | Shower | - | - | - | - | 1
WD03 | GF-18 | Changing | - | - | - | - | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Lock | ES50 WC FR24/55 78 9 / SSS/RAL9005 | Mortise BATHROOM lockcase for heavy-duty and fire doors, 55mm backset, 78mm cc distance to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 1
Handle | 8115 FS / 6500 / 7122 ER/RAL9005 | Premium Lever handle on round shaped roses with WC escutcheons. Tested to DIN EN 1906 Class 4. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Set | 1
Hinge | 804 STD 4" x 3.5" x 3mm / SSS/BV | SS 304 Heavy duty friction-bearing hinge with maintenance-free bushings, template drilled, square corners. Size 102x89x3mm. CE marked, CERTIFIRE approved. Suitable for fire resistance and smoke control doors. Maximum load 180 kg. Black Matt finish. | BSW – Germany | Nos. | 3
Door Stop | WDS / SSS/RAL9005 | 50 mm dia base, 82mm long, wall mounted stainless steel door stop with hard rubber insert. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 1
Hat & Coat Hook | CH / SSS/RAL9005 | Hat and Coat hook with black rubber, 69mm projection. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 1
# SETS |  |  |  |  | 6
HARDWARE SET # 07
SINGLE LEAF WOODEN DOOR - PWD TOILET
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
WD04 | GF-06 | F. Wash | - | - | - | - | 1
WD04 | GF-15 | M. Wash | - | - | - | - | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Lock | ES50 WC FR24/55 78 9 / SSS/RAL9005 | Mortise BATHROOM lockcase for heavy-duty and fire doors, 55mm backset, 78mm cc distance to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 1
Handle | 8115 FS / 6500 / 7122 ER/RAL9005 | Premium Lever handle on round shaped roses with WC escutcheons. Tested to DIN EN 1906 Class 4. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Set | 1
Hinge | 804 STD 4" x 3.5" x 3mm / SSS/BV | SS 304 Heavy duty friction-bearing hinge with maintenance-free bushings, template drilled, square corners. Size 102x89x3mm. CE marked, CERTIFIRE approved. Suitable for fire resistance and smoke control doors. Maximum load 180 kg. Black Matt finish. | BSW – Germany | Nos. | 3
Door Stop | WDS / SSS/RAL9005 | 50 mm dia base, 82mm long, wall mounted stainless steel door stop with hard rubber insert. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 1
Hat & Coat Hook | CH / SSS/RAL9005 | Hat and Coat hook with black rubber, 69mm projection. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 1
# SETS |  |  |  |  | 2
HARDWARE SET # 08
DOUBLE LEAF METAL DOOR - OUTSIDE OPENING
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
MD01 | GF-11 | LC & Control Room | - | - | - | - | 1
MD01 | GF-20 | Electrical Room | - | - | - | - | 1
MD01 | PU-01 | Pump Room | - | - | - | - | 1
MD01 | STO-01 | Storage | - | - | - | - | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Lock | ES50 PZW FR24/55 9/ SSS/RAL9005 | Mortise SASH lockcase for heavy-duty and fire doors, 55mm backset, 72mm cc distance to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 1
Cylinder | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 1
Handle | 8115 FS / 6500 / 6612 ER/RAL9005 | Premium Lever handle on round shaped roses with Europrofile cylinder escutcheons. Tested to DIN EN 1906 Class 4. SSS RAL9005 Black Matt finish. | OGRO+DENI - Germany | Set | 1
Hinge | 804 STD 4" x 3.5" x 3mm / SSS/BV | SS 304 Heavy duty friction-bearing hinge with maintenance-free bushings, template drilled, square corners. Size 102x89x3mm. CE marked, CERTIFIRE approved. Suitable for fire resistance and smoke control doors. Maximum load 180 kg. Black Matt finish. | BSW – Germany | Nos. | 10
Closer | TS 2000 NV BC+PA / BM | Overhead door closer with link arm for single leaf doors with a leaf width up to 1100 mm; Without hold open. Certified in compliance with EN 1154, Adjustable power EN 2-4, CE Marked. Adjustable Closing speeds, Latching speeds and Back check. Non handed. Supplied with parallel arm bracket. Black Matt finish. | Geze – Ger. | No. | 1
FLUSH Blot | 9220-1135-33 / SSS/RAL9005 | Manual Flush Bolt for METAL doors, on inactive leaf with up and bottom double acting rods with one lever action. 285x22 x 2-1m long rods. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 2
Floor Socket | 5845 / RAL9005 | Floor mounted dust excluding socket. RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 1
Gasketting | PS 1212 P - 7.0 Mtr. | Winged corner seal for Single door, equipped with two rows of durable self-adhesive backing tape, suitable for sound insulation and for smoke, sealing, ensures soft closing of the door, also suitable for retro-fit applications. Size of 7.0 Mtr. Black colour. | Athmer - Germany | Nos. | 1
# SETS |  |  |  |  | 4
HARDWARE SET # 09
DOUBLE LEAF GLASS DOOR - OUTSIDE OPENING
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
GD01 | GF-02 | Main Entrance | - | - | - | - | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Cylinder | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 1
* Escutcheon | PREMIUM 6612 RAL9005 | PREMIUM Europrofile cylinder escutcheon. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 1
FLOOR SPRING | TS 550 NV F + SA Accs. BM | Floor spring for single leaf fire protection doors up to 1400 mm leaf width with adjustable closing force EN 3-6 and without hold-open device. Supplied with single action floor spring's accessories for WOODEN door. SSS/Black Matt finish. | Geze – Ger. | Set | 2
** Panic Devise | FH62 FR24/55/ SSS B x FH62 GK FR24/55/ SSS x EPNII x 8115 FS / 6500 / 6612 ER / RAL9005 | Inside SS push bar 1150mm long (x2 Nos for both leaves) with a 30deg. Pivot angle cut for cylinder use 92mm cc distance with emergency exit mortise lock, change-over function B, integrated "plug-in key function", 9mm split follower, 20mm deadbolt, tested to EN1125, EN12209 Cert. & Fire Rated as per EN1634-1 x Outside cranked SS U-Lever handle on sprung pivoted oval rose, non-handed with oval SS cylinder escutcheon & split spindle. SSS/RAL9005 Black Matt finish. | SSF - Germany | Set | 2
# SETS |  |  |  |  | 1
Remarks:
* From inside
** Touch bars from inside and a half lever set from outside
HARDWARE SET # 10
SINGLE LEAF GLASS DOOR - OUTSIDE OPENING
DOOR TYPE / DOOR NO. | ROOM NO. | (TO) ROOM NAME | CLEAR OPENING WIDTH | CLEAR OPENING HEIGHT | THK. | FIRE RATING | QTY
GD04 | GF-01 | Training Hall | - | - | - | - | 1
ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY
Cylinder | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 1
* Escutcheon | PREMIUM 6612 RAL9005 | PREMIUM Europrofile cylinder escutcheon. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 1
FLOOR SPRING | TS 550 NV F + SA Accs. BM | Floor spring for single leaf fire protection doors up to 1400 mm leaf width with adjustable closing force EN 3-6 and without hold-open device. Supplied with single action floor spring's accessories for WOODEN door. SSS/Black Matt finish. | Geze – Ger. | Set | 1
Panic Devise | FH62 FR24/55/ SSS B x EPNII x 8115 FS / 6500 / 6612 ER / RAL9005 | Inside SS push bar 1150mm long with a 30deg. Pivot angle cut for cylinder use 92mm cc distance with emergency exit mortise lock, change-over function B, integrated "plug-in key function", 9mm split follower, 20mm deadbolt, tested to EN1125, EN12209 Cert. & Fire Rated as per EN1634-1 x Outside cranked SS U-Lever handle on sprung pivoted oval rose, non-handed with oval SS cylinder escutcheon & split spindle. SSS/RAL9005 Black Matt finish. | SSF - Germany | Set | 1
# SETS |  |  |  |  | 1
Remarks:
* From inside

## Proposed Mat.
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI | [6 empty] | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
2. LIST OF PROPOSED MATERIALS
Sr.No. | ITEM | ITEM CODE | DESCRIPTION | BRAND | UNIT | QTY | STATUS
1 | HINGE | 804 STD 4" x 3.5" x 3mm / SSS/BV | SS 304 Heavy duty friction-bearing hinge with maintenance-free bushings, template drilled, square corners. Size 102x89x3mm. CE marked, CERTIFIRE approved. Suitable for fire resistance and smoke control doors. Maximum load 180 kg. Black Matt finish. | BSW - Germany | Nos. | 91 | ü
2 | FLOOR SPRING | TS 550 NV F + SA Accs. BM | Floor spring for single leaf fire protection doors up to 1400 mm leaf width with adjustable closing force EN 3-6 and without hold-open device. Supplied with single action floor spring's accessories for WOODEN door. SSS/Black Matt finish. | GEZE - Germany | Set | 5 | ü
3 | DOOR CLOSER | BOXER 2-4 x Lim CV RAL9005 | Integrated door closer for single doors, leaf depth from 40mm, according to EN1154A, size 2-4, up to 130KG leaf weight and up to 1100mm leaf width with arm guide rail & door limiter. SAA/RAL9005 Black Matt finish. | GEZE - Germany | No. | 4 | ü
4 | DOOR CLOSER | TS 2000 NV BC / BM | Overhead door closer with link arm for single leaf doors with a leaf width up to 1100 mm; Without hold open. Certified in compliance with EN 1154, Adjustable power EN 2-4, CE Marked. Adjustable Closing speeds, Latching speeds and Back check. Non handed. Black Matt finish. | GEZE - Germany | No. | 2 | ü
5 | DOOR CLOSER | TS 2000 NV BC+PA / BM | Overhead door closer with link arm for single leaf doors with a leaf width up to 1100 mm; Without hold open. Certified in compliance with EN 1154, Adjustable power EN 2-4, CE Marked. Adjustable Closing speeds, Latching speeds and Back check. Non handed. Supplied with parallel arm bracket. Black Matt finish. | GEZE - Germany | No. | 5 | ü
6 | LOCK | ES50 PZW FR24/55 9/ SSS/RAL9005 | Mortise SASH lockcase for heavy-duty and fire doors, 55mm backset, 72mm cc distance to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 11 | ü
7 | LOCK | ES50 RS FR24/55/ SSS/RAL9005 | Mortise cylinder DEAD lock for heavy-duty and fire doors with dead bolt, 55mm backset, to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 2 | ü
8 | LOCK | ES50 WC FR24/55 78 9 / SSS/RAL9005 | Mortise BATHROOM lockcase for heavy-duty and fire doors, 55mm backset, 78mm cc distance to DIN18251-1 Class 3. SSS/RAL9005 Black Matt finish. | SSF - Germany | Nos. | 8 | ü
9 | PANIC DEVICE | FH62 FR24/55/ SSS B x EPNII x 8115 FS / 6500 / 6612 ER / RAL9005 | Inside SS push bar 1150mm long with a 30deg. Pivot angle cut for cylinder use 92mm cc distance with emergency exit mortise lock, change-over function B, integrated "plug-in key function", 9mm split follower, 20mm deadbolt, tested to EN1125, EN12209 Cert. & Fire Rated as per EN1634-1 x Outside cranked SS U-Lever handle on sprung pivoted oval rose, non-handed with oval SS cylinder escutcheon & split spindle. SSS/RAL9005 Black Matt finish. | SSF - Germany | Set | 1 | ü
10 | PANIC DEVICE | FH62 FR24/55/ SSS B x FH62 GK FR24/55/ SSS x EPNII x 8115 FS / 6500 / 6612 ER / RAL9005 | Inside SS push bar 1150mm long (x2 Nos for both leaves) with a 30deg. Pivot angle cut for cylinder use 92mm cc distance with emergency exit mortise lock, change-over function B, integrated "plug-in key function", 9mm split follower, 20mm deadbolt, tested to EN1125, EN12209 Cert. & Fire Rated as per EN1634-1 x Outside cranked SS U-Lever handle on sprung pivoted oval rose, non-handed with oval SS cylinder escutcheon & split spindle. SSS/RAL9005 Black Matt finish. | SSF - Germany | Set | 4 | ü
11 | CYLINDER | EPS6-DZ 36/36 VdS-KZS PS | Double protected EPS profile cylinder 72mm long, Plug drilling protection with anti-pick spring locking pins, VdS approved to EN1303. Patinated Black finish. | EVVA – Austria | Nos. | 16 | ü
12 | LEVER HANDLE + PC ESCUTCHEON | 8115 FS / 6500 / 6612 ER/RAL9005 | Premium Lever handle on round shaped roses with Europrofile cylinder escutcheons. Tested to DIN EN 1906 Class 4. SSS RAL9005 Black Matt finish. | OGRO+DENI - Germany | Set | 11 | ü
13 | LEVER HANDLE + WC ESCUTCHEON | 8115 FS / 6500 / 7122 ER/RAL9005 | Premium Lever handle on round shaped roses with WC escutcheons. Tested to DIN EN 1906 Class 4. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Set | 8 | ü
14 | PULL HANDLE | TG 9115 ER/RAL9005 + GZ 216 | Pull handle with bolt-thru fixing to timber doors (GZ 216 - 2 Nos. / Set). Size 600mm length x 30mm dia. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 2 | ü
15 | ESCUTCHEON | PREMIUM 6612 RAL9005 | PREMIUM Europrofile cylinder escutcheon. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Pair | 5 | ü
16 | FLUSH BOLT | 9220-1135-33 / SSS/RAL9005 | Manual Flush Bolt for METAL doors, on inactive leaf with up and bottom double acting rods with one lever action. 285x22 x 2-1m long rods. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 8 | ü
17 | FLOOR SOCKET | 5845 / RAL9005 | Floor mounted dust excluding socket. RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 4 | ü
18 | PUSH PLATE | PP-700x100 SSS/RAL9005 | Push plate, Size 700x100mm. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | Nos. | 2 | ü
19 | HAT & COAT HOOK | CH / SSS/RAL9005 | Hat and Coat hook with black rubber, 69mm projection. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 8 | ü
20 | DOOR STOP | TZ 5021 / SSS/RAL9005 | Floor mounted ROUND door stop with black round buffer. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 4 | ü
21 | DOOR STOP | WDS / SSS/RAL9005 | 50 mm dia base, 82mm long, wall mounted stainless steel door stop with hard rubber insert. SSS/RAL9005 Black Matt finish. | OGRO+DENI - Germany | No. | 8 | ü
22 | INTUMESCENT SEAL | ITH-102x89-2MM WT | INTERDENS® Intumescent Fire Protection Kits precut to suit Hinge blades, with self adhesive tape back to ease installation, tested in accordance to BS476:22, 2mm thick. White colour. | ATHMER - Germany | Nos. | 18 | ü
23 | INTUMESCENT SEAL | ITL-165x90-2MM WT | INTERDENS® Intumescent Protection Kits precut to suit Lock body & Strike Plate, with self adhesive tape back to ease installation, tested in accordance to BS476:22, 2mm thick. White colour. | ATHMER - Germany | Nos. | 8 | ü
24 | GASKETING | PS 1212 P - 6.0 Mtr. | Winged corner seal for Single door, equipped with two rows of durable self-adhesive backing tape, suitable for sound insulation and for smoke, sealing, ensures soft closing of the door, also suitable for retro-fit applications. Size of 6.0 Mtr. Brown colour. | ATHMER - Germany | Nos. | 9 | ü
25 | GASKETING | PS 1212 P - 7.0 Mtr. | Winged corner seal for Single door, equipped with two rows of durable self-adhesive backing tape, suitable for sound insulation and for smoke, sealing, ensures soft closing of the door, also suitable for retro-fit applications. Size of 7.0 Mtr. Black colour. | ATHMER - Germany | Nos. | 4 | ü
ü | Technical Data Sheet submitted along with this Technical submission.
Date sheet to be considered for technical evaluation in lieu of sample.

## Vendors List
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
3. VENDORS LIST
Refer to Specifications and HW Set Configurations

## Elev.-DS-HW Set
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
4. ELEVATIONS / DOORS SCHEDULE / HW SETS SCHEDULE

## Specification
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
5. SPECIFICATION

## Compliance Statement
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
6. COMPLIANCE STATEMENT

## TDS
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
7. TECHNICAL DATA SHEET

## Test Report
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
8. TEST REPORT

## Company Profile
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
9. COMPANY PROFILE

## Co. License & Certificate
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
10. COMPANY LICENSE & CERTIFICATE

## Previous Approvals
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
11. PREVIOUS APPROVALS

## Major Projects
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
12. MAJOR PROJECTS

## Warranty
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  |  |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
13. WARRANTY
Warranty will be submitted in due course, upon completion of all supplies, in compliance with the project's requisites under the relevant Clause of Section 087111.
What follows is a Draft Warranty based on the Engineer's Specification Section 017700 Closeout Procedures.
Appendix 1 - Sub-Contractor Warranty
| Reference Number | MGT-MGC/MAA-WD0425/21005 |  | Date 21.04.2025
| Employer & Beneficiary | YAS Projects
P.O. Box: xxx, Abu Dhabi – UAE
| Main / Sub- Contractor | B & O General Contracting LLC
P.O. Box: xxx, Abu Dhabi – UAE
| Supplier | MEKATRON GENERAL TRADING LTD. (SUPPLIER)
| Item / Scope of Work | Ironmongery & door fittings / Supply
| Project Name | Martial Arts Arena in Abu Dhabi
We, MEKATRON General Trading Ltd., guarantee that the works with regard to the supply of ironmongery and door fittings implemented on the above-mentioned project are in line with the project specifications and have been done in accordance with good workmanship, sound products and the latest methodologies to assure a quality product.
This supply of ironmongery will be ensured and warrantied by MEKATRON General Trading Ltd. for a period of 5 years after issuance of the Taking-Over-Certificate (TOC) issued by the Engineer.
We, MEKATRON General Trading Ltd. agree to carry out and undertake any temporary repair immediately within 24 hours without awaiting till such a time where a survey report (including reason of failure and repair methodology) is provided. After Temporary repair a permanent solution / repair should be provided. In addition, in case of failure, and after repair; a close out report will be provided.
Any labor and material cost for immediate repair done by the Employer or his representative as a result of lack of attendance will be refunded and will not relieve MEKATRON General Trading Ltd. from his warranty liability.
This warranty is interpreted according to the laws of the United Arab Emirates.
Materials covered under this warranty are:
| ITEM | BRAND | YEARS
| Pullers / Levers / Escutcheons | OGRO + DENI – Germany | 5
| Door Locks | SSF – Germany | 2
| Cylinder | EVVA – Austria | 2
| Door Closer | Geze – Germany | 3
| Butt Hinges | BSW – Germany | 5
| Ancillaries | OGRO + DENI – Germany | 5
| Panic Devices | SSF (ECO Schulte) – Germany | 2
| Door Bottom Seals | Athmer – Germany | 2
| Intumescent Packs | Athmer – Germany | 2
This warranty is subject to the following conditions:
- No paint or paint remover was applied on any of the above material.
- No masking tapes applied on any of the above material.
| WARRANTY PERIOD | ABOVE MENTIONED YEARS FORM TAKING-OVER CERTIFICATE (TOC)
| For | M/s. MEKATRON General Trading Ltd.

## Sample
PROJECT NAME: MARTIAL ARTS ARENA @ ABU DHABI |  | DATE: 21.04.2025
REF.No.: | MGT-MGC/MAA-HS0425/21005
14. SAMPLE
Samples have been submitted in loose form and not on a sample board.